## PACS permissions
PACS Permissions Group |  |  |  | Description | affected applications | Notes
Image Manipulation | Export Data | Copy Images |  | DICOM copy other DICOM archives. Archives must be configured on PACS. | Client
|  | Burn Images |  | DICOM burn on CD Direct. | Client
|  | Print Images | Dicom Printer | Printing on DICOM film printer. | Client
|  |  | Network Printer | Printing on Network non-DICOM printer. | Client
|  | Save images | Save to Local | Save selected images on the workstation. | Client
|  |  | Save to server | Save selected images on the server. | Client
| Update Data | Allow Editing Patient and Study details | Custom Field only | It allows to modify study and patient metadata in the DB Admin that have been created when storing the study on the system | DB Admin
|  |  | Custom and System Fields | It allows to modify all study and patient metadata in the DB admin | DB Admin
|  | Allow deletion of images and report |  | It allows to permanently delete imgages and studies from the PACS. | DB Admin\Client
Workflow | Reading Flow | Allow Viewing Reports |  | It allows to view reports in the PACS client | Client
|  | Allow Reading Permissions | Allow study status changes | It allows to change status of studies from the PACS
|  |  | Allow Dictation permissions | It allows to Dictate Report form the PACS
|  |  | Allow saving reports | It allows to save Images report, such as Vessel Analysis Reports and post processing ones.
|  | Allow marking Key images |  | It allows to mark an image as Key one
|  | Allow marking Significant series |  | It allows to mark a series as Significant one
|  | Allow unmarking significant series |  | It allows to unmark significant series
|  | Sticky Notes | None | The user cannot see, neither use sticky notes
|  |  | View only | The user can only view sticky notes created by other users
|  |  | View, Edit, Delete users' own | The user can view, edit, delete his own sticky notes
|  |  | View, Edit, Delete (no restrictions) | The user can view, edit, delete sticky notes without any restriction
|  | Teaching Files | None | The user cannot see, neither use Teaching Files
|  |  | View only | The user can only view Teaching Files created by other users
|  |  | View, Edit, Delete users' own | The user can view, edit, delete his own teaching files
|  |  | View, Edit, Delete (no restrictions) | The user can view, edit, delete teaching files without any restriction
|  | Allow Modifying Teaching File form |  | The suer can modify the form used for Teaching Files.
|  | Bookmarks | None | The user cannot see, neither use Bookmarks
|  |  | View only | The user can only view Bookmarks created by other users
|  |  | View, Edit, Delete users' own | The user can view, edit, delete his own bookmarks
|  |  | View, Edit, Delete (no restrictions) | The user can view, edit, delete bookmarks without any restriction
| Folder Creation\Deletion | Regular Folder | Private - Public | It allows to create folders in the PACS archive Explorer at Private (only for this user) or Public level (all the users af the system). Folders are filters and note copies of the studies.
|  | Worklist Folder | Private - Public | It allows to create worklist folders in the PACS archive Explorer at Private (only for this user) or Public level (all the users af the system). Folders are filters and note copies of the studies.
|  | Teaching Folders | Private - Public | It allows to create Teaching Files folders in the PACS archive Explorer at Private (only for this user) or Public level (all the users af the system). Folders are filters and note copies of the studies.
|  | Allow Saving of Default Folder settings |  | It allows to save the settings of the columns used in the CS Client. You can add\remove columns and change the order of them and save these settings as default.
| DP and Save presentation permissions (DP Creation Permissions) | Save as mechanism | User - Group - System | It allows to use Save as mechanism for creating Display protocols at user, group or system level (for the user only, the group being the user belonging to, all the users of the system)
|  | DP Editor | User - Group - System | It allows to use the DP editor for creating Display protocols at user, group or system level (for the user only, the group being the user belonging to, all the users of the system)
|  | Allow Usage of DP repair Tool |  | It allows to use the DP Repair tool from Client Tools, in order to correct DP issues.
| DP and Save presentation permissions (Save Presentation Permissions) | View Presentation | User's presentation - All presentations | It allows to View Studies' Presentation made by the user itself or all the presentations existing on the system without restrictions.
|  | Create/Edit Presentation | User's presentation - All presentations | It allows to Create and Edit Studies' Presentation made by the user itself or all the presentations existing on the system without restrictions.
|  | Delete Presentation | User's presentation - All presentations | It allows to Delete Studies' Presentation made by the user itself or all the presentations existing on the system without restrictions.
| Url and Action buttons | Allow viewing addition studies after URL activation |  | It is used for opening a client form the PACS directly, even if the RIS is open. It allows to open the Archive explorer from the CS Client after opening another case.
|  | Action Button permissions | <Applications> | Here you find the list of applications that have been integrated with the carestream client and appears as new buttons in the viewer (action button). You can flag the one you want to enable for the user\group. One example is Orthoview.
|  | Default Action Button permission | Allow - Not allow | It is the default settings that will be applied when configuring a new Action button.
| Other Permissions | Administration Permissions | Allow login as another user to CS Client | It is the possibility to login to the CS Client and Application Settings as another user and so get the configuration and settings of him. This permission should be provided only to Application Specialist and first line support.
|  | Push to Client Permissions | Allow Clearing Studies from Local Drive | It is the possibility of emptying the user's cash dedicated to studies that have been pushed.
|  |  | Allow pushing studies to other users than Myself | It is the possibility to push studies to users different than the one who is pushing.
|  | User Customization Permissions | Allow modifying Mytab, right-click menu and shortcuts | It is the permission to allow modifyng and customizing the "My tab" tab in CS Client, the right click menu and shortcut list.
Multi-node/site | Access to Foreign Archive | Servers name | None, Read,Write, Delete | It's the permission to access an archive that is configured in the Nodes Configuration of the Central Configuration of the PACS. It is possible to set the archive cannot be accessed (NONE), can be queried, it's possible to copy t it (WRITE) and delete.
|  | Default Device permissions | None, Read,Write, Delete | It's the default setting to be applied when a new archive is configured.
|  | Allow Global Access For Patient History |  | This permission is related to a configuration related to the possibility of loading prior cases of a patient that reside on a different remote archive (it must beconfigured in GRID).
| Global Delete | Site Ids |  | Here you find the list of site id for which to enable the Global delet (propagation of deletion of studies).
Reporting | Reporting Workflow | Allow Integrated Reporting |  | It allows to use Native Reporting
| Template Editing | Allow Templates/Auto-Texts Creation |  | It allows to edit the Native Report Templates for reports.
Application Access | Application Access | Carestream Client |  | It allows to login to CS Client
|  | Carestream Client via URL activation |  | It allows to login to CS Client via url
|  | Carestream Client via COM interface |  | It allows to login to CS Client via COM (RIS11 uses it)
|  | Carestream Vue Motion |  | It allows to login to Vue Motion
|  | Carestream MyVue |  | It allows to login to My Vue
|  | CD-Direct |  | It allows to open CD-Direct when installed as workgroup.
|  | Data Import Tool |  | This provides the permission to use Data Import Tool. Data Import tool allows you to import NON-Dicom.
|  | System Configuration |  | This provides the permission to login to the System Configuration (Dicom configuration, DICOM parsing, Infor Router rules creation, Life Cycle Managemnet, etc.)
|  | System Administration |  | This provides the permission to login to: Database Admin, IS Link, Certificate Manager.
|  | System Monitoring |  | This provides the permission to login to: System Check, Info Router, Audit Trail, Synchronization Monitor, Archive Compare Tool, Bandwith Test.
|  | Central Configuration |  | This provides the permission to login to Central Configuration.
Application Settings | Application Settings | Allow User Interface & Viewing Settings | User, Group, System | It allows to login to Client Tools > Application Settings
|  | Allow True Size Calibration |  | It allows to calibrate the monitor in order to see images in true size.
|  | Allow Printing Calibration |  | It allows to print images in true size (1:1)
|  | Allow Reports & 3rd Party Settings |  | It allows to use any reporting\3rd party system that is integrated with the pacs, from the pacs application
CD Monitoring | CD Monitoring | Allow updating user's burn requests in queue |  | It allows to modify the burning request that are in que in the CD Direct, from the CD direct monitoring interface.
|  | Allow updating CD-Direct settings |  | It allows to update CD-direct settings when it is configured in Workgroup mode.
User/patient Account Management | General User Management | Allow add/edit/delete users | Group - System | It allows to create/modify/delete users in the User Management application at Group (in the Group where the suer belongs to) or System level.
|  | Allow Resetting user's passwords | Group - System | It allows to reset the user password for a user of the same group or at system level
| Web User Management | Allowed Acions | None | It means you cannot create any web user (users for
|  |  | Create, Edit Only | It allows you to create and edit users for Web Solution (MyVue)
|  |  | Create, Edit, Delete | It allows you to create and edit and delete users for Web Solution (My Vue)
|  | Share exams with 'Other' Web users |  | It allows you share an exam, through Patient Portal (MyVue) with other users of the system.
Vue Motion | Management | Save to Local |  | It allows to save images locally, when working on Vue Motion.
|  | Send Study |  | It allows to send a study to another user
|  | Allow viewing reports |  | It allows to view reports in the Vue Motion
|  | Print Reports |  | It allows to print the reports
|  | Allow Order Entry |  | It allows to make an order of a new exam from the Vue Motion
|  | Allow modification of patient details |  | It allows to modify the patient details in the Vue Motion.
|  | Allow management of referring Physicians Lookup Table |  | It allows the management of referring Phisician database table
|  | Advanced Viewer |  | It allows to open the Advanced Viewer (CS Client) form the Vue Motion. The CS Client should be already installed on the computer, otherwise the client installation will start.
|  | Allow viewing additional studies after URL activation |  | It allows to query for other studies after the first case was open in Vue Motion.
|  | Sticky Notes | None | This means you are not allowed to use Sticky Notes in Vue Motion.
|  |  | View only | It allows to view Sticky Notes on Vue Motion without modifying them
|  |  | View, Edit, Delete users' own | It allows to View, Modify and Delete user's sticky Notes
|  |  | View, Edit, Delete (no restrictions) | It allows to View, Modify and Delete Sticky Notes without restrictions (Even if they were created by abother user).
MyVue | Management | Carestream MyVue |  | It is the permission to use My Vue
|  | Share Data |  | It is the permissionto share studies with other people via email
|  | Save to Local |  | It is the permission to save a study from My Vue into the local workstation
|  | Allow Viewing Reports |  | It allows to view reports from inside the My Vue
|  | Print reports |  | It allows to print reports from the My Vue.